Title of Project: Simultaneous Assessment of Tissue Microstructure and Cerebrovascular Disease in Alzheimer’s Disease using 4D Flow MRI and Neurite Orientation Dispersity and Density Imaging

Authors: Grant S. Roberts

# Abstract:

It is well known that white matter (WM) microstructure changes occur in both aging and Alzheimer’s disease (AD). Recently, studies have demonstrated relationships between cerebrovascular disease (CVD) and AD; however, it is unclear the degree to which CVD influences WM microstructural degeneration in AD. In this study, the effects of CVD on microstructural changes are assessed in a cohort of AD and control subjects using 4D flow MRI and neurite orientation dispersion and density imaging (NODDI). A fully-automated NODDI processing pipeline was developed in FSL and Python from multi-shell diffusion tensor imaging (DTI) data in order to produce NDI, ODI, and Viso maps. This pipeline was used to process DTI data from 28 AD-confirmed and 41 cognitively normal (CN) age-matched individuals. Group WM differences were explored using tract-based spatial statistics, non-parametric permutation testing, and threshold-free cluster enhancement adjusting for multiple comparisons. Additionally, pulse wave velocity, pulsatility index, and total cerebral blood flow measurements were obtained with 4D flow MRI. Two-sample t-tests were used to assess differences in CVD measures between groups. Spearman correlation analyses will be performed on each NODDI measure and CVD metric for both groups. Briefly summarize individual 4D flow and NODDI results. Summarize correlations between WMM and CVD. Put findings into clinical context. Conclude.

# Introduction:

While Alzheimer’s disease (AD) has been widely associated with parenchymal and microstructural alterations1, it is also strongly linked to cerebrovascular disease (CVD) including cerebral hypoperfusion2, small vessel disease3, and blood brain barrier dysfunction4. Still, the potential synergistic or even causative relationship between cerebrovascular health on AD and subsequent structural brain changes is unclear5. Studying this relationship is partly limited by the lack of sufficiently sensitive tools to evaluate vascular and microstructural pathology.

Over the last decade, the UW MRI research group, in collaboration with the Wisconsin Alzheimer’s Disease Research Center, has developed novel methodologies for the quantitative assessment of both macroscopic cerebrovascular health and microstructural parenchymal changes. The cardiovascular MRI research group have developed novel methods to comprehensively evaluate macroscopic cerebrovascular hemodynamics in AD using time-resolved, volumetric, velocimetry measurements (4D Flow MRI6,7) with a high-resolution, radially-undersampled acquisition and have identified alterations in mean blood flow and pulsatility8-12.

Recently, a novel technique termed ‘neurite orientation and density imaging (NODDI)’ has been introduced as a method to probe microstructural complexity on a voxel-wise basis13. NODDI works by fitting data from a multi-shell diffusion tensor imaging (DTI) into an a priori three-compartment tissue model, allowing for robust measurements of dispersion indices (ODI), neuronal density indices (NDI), and volume fractions of isotropic water molecules (Viso)14. To date, only a handful of studies have evaluated tissue microstructural changes in AD cohorts using NODDI15,16; each independently concluding that decreases in ODI and NDI occur in various cortical and subcortical structures in individuals with AD17-21. However, there have been no studies which have simultaneously assessed measures of CVD and microstructural tissue alterations in AD subjects.

The aim of this study is to develop a fully-automated NODDI processing pipeline in FSL (using the free Dmipy python package22) from multi-shell diffusion tensor imaging (DTI) data in order to produce NDI, ODI, and Viso maps. Using this methodology, NODDI processing will be performed in 28 AD-confirmed and 41 cognitively normal (CN) age-matched individuals. State hypothesis here. Discuss the importance of this study.

# Materials and Methods:

## 4D Flow MRI – Theory

4D flow magnetic resonance imaging (MRI) allows for the acquisition of 3D, time-resolved velocity fields, encoded in each of the 3 Cartesian directions23. In other words, at each voxel within a given 4D flow volumetric dataset, there exists an associated 3D velocity vector relating to a spin’s motion in the x-, y-, and z-directions. Because cardiac gating is applied, there are often multiple of these volumes representing data at various points along the cardiac cycle. 4D flow MRI is a phase contrast technique in which bipolar gradients are used to encode velocity into the phase of our complex-valued MRI signal. Specifically, moving spins will acquire a deterministic phase shift depending on their speed relative to the direction of the encoding gradient, while non-moving spins will theoretically acquire no phase shift. This is described by Equation 1:

ϕr,TE=ϕ0+γ⋅r00TEGt⋅dt+γ⋅v0TEGtt⋅dt +…

where r is the position of a given spin, TE is the echo time, ϕ is the image phase, ϕ0 is the background image phase, γ is the gyromagnetic ratio of hydrogen (42.58 MHz/T), v is the velocity of a given spin at position r, and Gt describes the gradient waveform (typically bipolar). Note higher orders of motion are often excluded, but can present artifacts if spins exhibit acceleration, jerk, etc. However, this is out of the scope of this paper. Practically, stationary spins will still acquire some phase shift due to field inhomogeneities. Thus, it is common to acquire an additional “reference” encoded scan to account for background phase shifts in stationary spins. Many standard 4D flow sequences utilize 4-point encoding to encode velocity in 3 directions and acquire an additional reference scan. However, higher-order encoding schemes can be used to increase signal-to-noise ratio (SNR) and velocity-to-noise ratio (VNR)24.

4D flow data can be used to study intravascular hemodynamics over a time-averaged heartbeat, useful in quantifying systolic/diastolic blood velocities, volumetric blood flow rates, pulsatility, wall shear stress, pulse wave velocities, and many others25. Additionally, due to the inherent contrast between moving spins (inside vessels) and stationary spins (background), high-quality angiograms can be simultaneously generated from the data. Thus, 4D flow MRI can provide both morphological information (PC angiogram) and quantitative flow data through data post-processing. Due to the high-dimensionality of 4D flow data, advanced reconstruction algorithms and accelerated imaging techniques must be used to obtain data in clinically feasible scan times. For this study, we utilize radially-undersampled sequence, termed PCVIPR (Phase Contrast, Vastly-Undersampled Isotropic Projection Reconstruction)7. The radial sampling scheme offers several advantages over Cartesian acquisitions including: preserved spatial resolution while undersampling, improved robustness to motion artifacts by oversampling central k-space26, favorable noise properties for parallel imaging and regularized reconstructions27, and flexible retrospective gating schemes28. Advanced reconstruction methods have also been used to further accelerate imaging or to increase data fidelity29. A recent paper by Rivera-Rivera et al. demonstrated the feasibility of using locally low rank reconstructions and flow encode splitting to obtain ultra-high temporal resolution 4D flow data for the use of computing intracranial pulse wave velocities11. Pulse wave velocity (PWV) describes the rate at which pulse pressure propagates through a vessel. This is clinically important because it relates indirectly to arterial stiffness which increases as cardiovascular disease progresses30. Additionally, the pulsatility index (PI), defined as the difference between the systolic and diastolic velocities normalized by the mean velocity, can also provide surrogate measure for vascular disease31. PI and PWV data, as well as total cerebral blood flow (tCBF) measures, from the study conducted by Rivera-Rivera et al. have been obtained and will be used in this study as indirect measures of cerebrovascular health.

## NODDI – Theory

## 4D Flow Data Processing

Data for this portion of the study has already been collected from a previous study11. The use of these measures for this specific study has been discussed and approved by Dr. Leonardo Rivera-Rivera. PWV, PI, and tCBF in the left (LICA) and right internal carotid artery (RICA) have already been computed for each subject. While these data have already been obtained, MRI acquisition parameters, reconstruction methods, and preprocessing steps will be summarized below.

MRI data were acquired using a clinical 3.0T scanner (Discovery MR750, GE Healthcare, Waukesha, WI) with a 32-channel head coil (Nova Medical, Wilmington, MA). 4D flow data were acquired using a radially-undersampled PCVIPR sequence7 using 5-point encoding24 (Venc=80 cm/s; TR/TE=7.4/2.7 ms; flip angle=8°; voxel resolution=1.7×1.7×1.7 mm3; temporal resolution≈8 ms; reconstructed matrix=320×320×320; number of projections≈11,000). Retrospective cardiac gating was performed using pulse oximeter trigger data.

Velocity-encoded images were retrospectively reconstructed using iterative SENSE32 with ESPIRiT33 sensitivity maps and a local low rank (LLR) constraint, enforcing a local temporal constraint using nuclear norm minimization34,35. Reconstructions were performed with block shifting of a 4×4×4 kernel and an empirically-tuned regularization parameter (λ=0.01). Typically, in 4D flow MRI, the temporal resolution is limited by the number of encoding points multiplied by the repetition time (TR). However, in this study, the LLR reconstruction was used to increase the theoretical temporal resolution limit to less than 1 TR (~7.4 ms). Data was reconstructed into 100 cardiac time frames. Several preprocessing algorithms were also used in the reconstruction process including: PILS (Parallel Imaging with Localized Sensitivities) reconstruction to reduce the spread of undersampling artifacts, correction of Maxwell term phase offsets36, 4D Laplacian unwrapping to automatically correct velocity aliasing37, and 3rd-order polynomial background phase correction for eddy current phase offsets36.

## NODDI Data Processing

MRI data were acquired using a clinical 3.0T scanner (Discovery MR750, GE Healthcare, Waukesha, WI) with a 32-channel head coil (Nova Medical, Wilmington, MA). T1-weighted structural images were acquired using a 3D inversion recovery prepared fast spoiled gradient-recalled echo (BRAVO) sequence (TI=450 ms; TR/TE=8.2/3.2 ms; flip angle=12°; 1×1×1 mm3 voxel resolution; 256×256×[156-192] acquisition matrix). A multi-shell spin-echo echo-planar imaging pulse sequence was used to acquire 69 total diffusion-weighted images spread across 4 q-space shells (6×b=0 s/mm2, 9×b=500 s/mm2, 18×b=800 s/mm2, and 36×b=2000 s/mm2; TR/TE=8575/76.8 ms; 2×2×2 mm3 isotropic resolution; 128×128×[74-92] acquisition matrix).

A desktop computer system (Dell Precision 5820 Tower, Intel Xeon W-2123 3.60 GHz CPU, 32 GB RAM) running Windows 10 was used to power a virtual environment containing FSL (22 GB allocated RAM and 4 cores dedicated for processing). An FSL preprocessing pipeline was then created using a Bash script. Raw diffusion-weighted images (DWIs) were denoised using dwdenoise and corrected for Gibb’s ringing artifact using mrdegibbs. Skull-stripping was accomplished using BET. Finally, motion correction was performed using FLIRT (all images affine-registered to the b0 image) and eddy correction using eddy. Associated files (bvals.bval, bvecs.bvec, acqparams.txt, and index.txt) containing gradient information for eddy were obtained for the given 69-volume diffusion tensor imaging (DTI) protocol. After performing eddy, all images were inspected for visual quality before NODDI processing and participant head motion during DWI acquisition was quantitatively evaluated using the root-mean-square (RMS) movement summary. This is an important step, as individuals with AD may have problems following directions and can become disoriented in the MR scanner.

DTIs were estimated from the pre-processed data using dtifit. After this, the Dmipy python package22 was used to model NODDI parameter maps from the DTIs. Specifically, the NODDI-Watson model proposed by Zhang was used to compute NDI, ODI, and Viso volumetric maps13. A separate Python script was created to perform this procedure. An example of how to use Dmipy was provided on their Github page, which was used to guide processing for this study. After NODDI processing, DTI volumes will were spatially normalized to a study-specific template using DTI-TK which bootstraps input tensor volumes and iteratively registers them to the template with a tensor-based registration algorithm38,39. This framework has been shown to improve white-matter alignment compared to conventional fractional anisotropy (FA) registration methods40. A mean FA map was computed for all subjects after registration. This mean FA map was thresholded at a value of 0.2 and morphological hole-filling was used to create a binarized WM mask. Tract-based spatial statistics (TBSS) was then used to create a skeletonized version of the mean FA image41. This skeleton was further cleaned by applying thresholding values (=0.4) to remove spurious centerlines and centerlines derived from low FA WM bundles.

## Subjects

A total of 28 AD and 41 age-matched cognitively normal (CN) controls have been identified from the ADRC and ADRC/WRAP protocols. The University of Wisconsin Institutional Review Board approved all study procedures and all subjects provided signed written informed consent before participation in MRI scanning. Datasets from all subjects were transferred from the WADRC server database to the UW-Medical Physics servers (data_mrcv2 drive) after submission of a UP request, required for retrospective data analysis on ADRC/WRAP participants. All data transfer and storage was Health Insurance Portability and Accountability Act (HIPAA) compliant. Precalculated PWV, PI, and tCBF metrics were matched to each patient. Demographic data for both cohorts were also obtained and are shown in Table 1.

| Table 1. Subject demographics. |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Total (N = 69) | CN (N=41) | AD (N = 28) | p-value |
| Age (years) | 73 ± 8 | 74 ± 7 | 72 ± 10 | 0.49a |
| Female (n, %) | 41, 59.4 | 23, 56.1 | 18, 64 | 0.46b |
| Parental history of dementia (n, %) | 12, 17.4 | 1, 2.44 | 11, 39.3 | 1.03e-04b |
| APOE ε4 carrier (n, %)* | 9, 13.0 | 1, 2.44 | 8, 28.6 | 5.99e-05b |
| SBP (mmHg) | 132 ± 21 | 132 ± 22 | 131 ± 20 | 0.78c |
| DBP (mmHg) | 76 ± 9 | 78 ± 9 | 74 ± 8 | 0.12c |
| HR (bpm) | 61 ± 10 | 62 ± 9 | 59 ± 10 | 0.32c |
| CN=cognitively normal; AD=Alzheimer’s disease; APOE=apolipoprotein E; SBP=systolic blood pressure; DBP=diastolic blood pressure; HR=heart rate *Twelve AD subjects were not genotyped; carrier is defined as presence of at least one allele aTwo sample t-test, assuming unequal variance (variance assess with F-test); bFisher’s exact test (categorical data); cTwo sample t-test, assuming equal variance (variance assess with F-test); Bold indicates statistical significance (p<0.05) |  |  |  |  |

## Statistical Analysis

Two-sample t-tests were performed in Microsoft Excel to assess group differences in PI, PWV, and tCBF measurements in both the LICA and RICA between the AD and CN cohorts. TBSS, Glm, and randomise in FSL were then used to detect whole-brain WM differences between groups both with and without cerebrovascular measures as covariates. Non-parametric permutation tests (N=10,000) with threshold-free cluster enhancement was performed using randomise. Lastly, Spearman correlation analyses were performed on each NODDI measure with cerebrovascular disease metrics for each group.

# Results:

# Discussion:

# Conclusion:

# Bibliography and References Cited:

1	Vogt, N. M. et al. Cortical Microstructural Alterations in Mild Cognitive Impairment and Alzheimer's Disease Dementia. Cereb Cortex, doi:10.1093/cercor/bhz286 (2019).

2	Roher, A. E. et al. Cerebral blood flow in Alzheimer's disease. Vasc Health Risk Manag 8, 599-611, doi:10.2147/VHRM.S34874 (2012).

3	Kester, M. I. et al. Associations Between Cerebral Small-Vessel Disease and Alzheimer Disease Pathology as Measured by Cerebrospinal Fluid Biomarkers. JAMA Neurology 71, 855-862, doi:10.1001/jamaneurol.2014.754 (2014).

4	Sweeney, M. D., Sagare, A. P. & Zlokovic, B. V. Blood-brain barrier breakdown in Alzheimer disease and other neurodegenerative disorders. Nat Rev Neurol 14, 133-150, doi:10.1038/nrneurol.2017.188 (2018).

5	Santos, C. Y. et al. Pathophysiologic relationship between Alzheimer's disease, cerebrovascular disease, and cardiovascular risk: A review and synthesis. Alzheimers Dement (Amst) 7, 69-87, doi:10.1016/j.dadm.2017.01.005 (2017).

6	Johnson, K. M. et al. Improved 3D phase contrast MRI with off-resonance corrected dual echo VIPR. Magn Reson Med 60, 1329-1336, doi:10.1002/mrm.21763 (2008).

7	Gu, T. et al. PC VIPR: a high-speed 3D phase-contrast method for flow quantification and high-resolution angiography. AJNR Am J Neuroradiol 26, 743-749 (2005).

8	Clark, L. R. et al. Macrovascular and microvascular cerebral blood flow in adults at risk for Alzheimer's disease. Alzheimers Dement (Amst) 7, 48-55, doi:10.1016/j.dadm.2017.01.002 (2017).

9	Xu, G. et al. Reliability and precision of pseudo-continuous arterial spin labeling perfusion MRI on 3.0 T and comparison with 15O-water PET in elderly subjects at risk for Alzheimer's disease. NMR Biomed 23, 286-293, doi:10.1002/nbm.1462 (2010).

10	Rivera, L. et al. Changes in intracranial venous blood flow and pulsatility in Alzheimer’s disease: A 4D flow MRI study. Journal of Cerebral Blood Flow & Metabolism 37, 0271678X16661340-10271678X16661340, doi:10.1177/0271678X16661340 (2016).

11	Rivera-Rivera, L. A. et al. Assessment of vascular stiffness in the internal carotid artery proximal to the carotid canal in Alzheimer’s disease using pulse wave velocity from low rank reconstructed 4D flow MRI. Journal of Cerebral Blood Flow & Metabolism, 0271678X20910302, doi:10.1177/0271678X20910302 (2020).

12	Rivera-Rivera, L. A., Johnson, S. C., Illingworth, C. & Johnson, K. M. in Proc. Intl. Soc. Mag. Reson. Med. 27.

13	Zhang, H., Schneider, T., Wheeler-Kingshott, C. A. & Alexander, D. C. NODDI: practical in vivo neurite orientation dispersion and density imaging of the human brain. Neuroimage 61, 1000-1016, doi:10.1016/j.neuroimage.2012.03.072 (2012).

14	Kamiya, K., Hori, M. & Aoki, S. NODDI in clinical research. Journal of Neuroscience Methods 346, 108908, doi:https://doi.org/10.1016/j.jneumeth.2020.108908 (2020).

15	Sone, D.

16	Kamagata, K. et al. Advanced diffusion magnetic resonance imaging in patients with Alzheimer&#39;s and Parkinson&#39;s diseases. Neural Regeneration Research 15, 1590-1600, doi:10.4103/1673-5374.276326 (2020).

17	Fu, X. et al. Microstructural White Matter Alterations in Mild Cognitive Impairment and Alzheimer's Disease : Study Based on Neurite Orientation Dispersion and Density Imaging (NODDI). Clin Neuroradiol 30, 569-579, doi:10.1007/s00062-019-00805-0 (2020).

18	Parker, T. D. et al. Cortical microstructure in young onset Alzheimer's disease using neurite orientation dispersion and density imaging. Hum Brain Mapp 39, 3005-3017, doi:10.1002/hbm.24056 (2018).

19	Vogt, N. M. et al. Cortical Microstructural Alterations in Mild Cognitive Impairment and Alzheimer's Disease Dementia. Cereb Cortex 30, 2948-2960, doi:10.1093/cercor/bhz286 (2020).

20	Slattery, C. F. et al. ApoE influences regional white-matter axonal density loss in Alzheimer's disease. Neurobiol Aging 57, 8-17, doi:10.1016/j.neurobiolaging.2017.04.021 (2017).

21	Wen, Q. et al. White matter alterations in early-stage Alzheimer's disease: A tract-specific study. Alzheimers Dement (Amst) 11, 576-587, doi:10.1016/j.dadm.2019.06.003 (2019).

22	Fick, R. H. J., Wassermann, D. & Deriche, R. The Dmipy Toolbox: Diffusion MRI Multi-Compartment Modeling and Microstructure Recovery Made Easy. Front Neuroinform 13, 64, doi:10.3389/fninf.2019.00064 (2019).

23	Markl, M., Frydrychowicz, A., Kozerke, S., Hope, M. & Wieben, O. 4D flow MRI. J Magn Reson Imaging 36, 1015-1036, doi:10.1002/jmri.23632 (2012).

24	Johnson, K. M. & Markl, M. Improved SNR in phase contrast velocimetry with five-point balanced flow encoding. Magn Reson Med 63, 349-355, doi:10.1002/mrm.22202 (2010).

25	Dyverfeldt, P. et al. 4D flow cardiovascular magnetic resonance consensus statement. J Cardiovasc Magn Reson 17, 72, doi:10.1186/s12968-015-0174-5 (2015).

26	Glover, G. H. & Pauly, J. M. Projection reconstruction techniques for reduction of motion effects in MRI. Magn Reson Med 28, 275-289, doi:10.1002/mrm.1910280209 (1992).

27	Lustig, M., Donoho, D. & Pauly, J. M. Sparse MRI: The application of compressed sensing for rapid MR imaging. Magn Reson Med 58, 1182-1195, doi:10.1002/mrm.21391 (2007).

28	Schrauben, E. M., Anderson, A. G., Johnson, K. M. & Wieben, O. Respiratory-induced venous blood flow effects using flexible retrospective double-gating. J Magn Reson Imaging 42, 211-216, doi:10.1002/jmri.24746 (2015).

29	Ma, L. E. et al. Aortic 4D flow MRI in 2 minutes using compressed sensing, respiratory controlled adaptive k-space reordering, and inline reconstruction. Magn Reson Med 81, 3675-3690, doi:10.1002/mrm.27684 (2019).

30	Callaghan, F. J., Geddes, L. A., Babbs, C. F. & Bourland, J. D. Relationship between pulse-wave velocity and arterial elasticity. Med. Biol. Eng. Comput. 24, 248-254, doi:10.1007/bf02441620 (1986).

31	Nelson, T. R. & Pretorius, D. H. The Doppler signal: where does it come from and what does it mean? Am J Roentgenol 151, 439-447, doi:10.2214/ajr.151.3.439 (1988).

32	Pruessmann, K. P., Weiger, M., Scheidegger, M. B. & Boesiger, P. SENSE: sensitivity encoding for fast MRI. Magn Reson Med 42, 952-962 (1999).

33	Uecker, M. et al. ESPIRiT--an eigenvalue approach to autocalibrating parallel MRI: where SENSE meets GRAPPA. Magn Reson Med 71, 990-1001, doi:10.1002/mrm.24751 (2014).

34	Peper, E. S. et al. Regional assessment of carotid artery pulse wave velocity using compressed sensing accelerated high temporal resolution 2D CINE phase contrast cardiovascular magnetic resonance. Journal of Cardiovascular Magnetic Resonance 20, 86, doi:10.1186/s12968-018-0499-y (2018).

35	Jimenez, J. E. et al. Feasibility of high spatiotemporal resolution for an abbreviated 3D radial breast MRI protocol. Magnetic resonance in medicine 80, 1452-1466, doi:10.1002/mrm.27137 (2018).

36	Bernstein, M. A. et al. Concomitant gradient terms in phase contrast MR: analysis and correction. Magn Reson Med 39, 300-308, doi:10.1002/mrm.1910390218 (1998).

37	Loecher, M., Schrauben, E., Johnson, K. M. & Wieben, O. Phase unwrapping in 4D MR flow with a 4D single-step laplacian algorithm. J Magn Reson Imaging 43, 833-842, doi:10.1002/jmri.25045 (2016).

38	Zhang, H., Yushkevich, P. A., Alexander, D. C. & Gee, J. C. Deformable registration of diffusion tensor MR images with explicit orientation optimization. Med Image Anal 10, 764-785, doi:10.1016/j.media.2006.06.004 (2006).

39	Zhang, H. et al. High-dimensional spatial normalization of diffusion tensor images improves the detection of white matter differences: an example study using amyotrophic lateral sclerosis. IEEE Trans Med Imaging 26, 1585-1597, doi:10.1109/tmi.2007.906784 (2007).

40	Wang, Y. et al. DTI registration in atlas based fiber analysis of infantile Krabbe disease. Neuroimage 55, 1577-1586, doi:10.1016/j.neuroimage.2011.01.038 (2011).

41	Smith, S. M. et al. Tract-based spatial statistics: voxelwise analysis of multi-subject diffusion data. Neuroimage 31, 1487-1505, doi:10.1016/j.neuroimage.2006.02.024 (2006).